## RFP 1
Request for proposal information
Request for Proposal : | RFP Number 1 - 16 schools
Number of projects within this RFP :
Region :
Company information
Name of the company :
Adress of the company :
Name of the person sbmitting the offer :
Email :
Phone number :
Projects within this RFP
Site number | Project Name | Price offer (do not complete this column, it will be filled when you complete the sheets for each project) | $/W (Total W)
1 | Ripky Highschool | 0 | #DIV/0!
2 | Chernihiv Highschool No. 22 of the Chernihiv City Council | 0 | #DIV/0!
3 | Nizhyn Secondary School of Grades I-III No. 15, Nizhyn City Council | 0 | #DIV/0!
4 | Kulykivka Highschool of the Kulykivka Settlement Council of the Chernihiv District of the Chernihiv Region | 0 | #DIV/0!
5 | Mena Gymnasium of the Mena City Council | 0 | #DIV/0!
6 | Klevanska special boarding school №1 | 0 | #DIV/0!
7 | Klevanska special boarding school №2 | 0 | #DIV/0!
8 | NGO "CHILDREN'S DEVELOPMENT CENTER "ERUDIT" | 0 | #DIV/0!
9 | Holubnivskyi Lyceum of the Bereznovskyi City Council | 0 | #DIV/0!
10 | Chernihiv general Boarding School | 0 | #DIV/0!
11 | Bakhmach Lyceum No. 1 Bakhmach City Council | 0 | #DIV/0!
12 | Pryluky gymnasium No. 1 named after Heorhy Voronyi of the Pryluky of the city council of Chernihiv region | 0 | #DIV/0!
13 | Pryluky gymnasium No. 10 | 0 | #DIV/0!
14 | Communal institution of general secondary education of I-III degrees "Varva Lyceum No. 1" | 0 | #DIV/0!
15 | Korops comprehensive school of grades I-III named after T.H. Shevchenko of the Korop settlement council of the Chernihiv region | 0 | #DIV/0!
16 | New school of Tsykourny | 0 | #DIV/0!

## Site 1
Request for proposal : | 1
Project number within the RFP : | 1
Site Info |  | Solar
Site Name | Ripky Highschool | System Size (kWdc)
Site adress | Vulytsya Pyrohova, 13, Ripky, Chernihiv Oblast, Ukraine, 15000 | System Size (kWac)
Project beneficiary |  | DC/AC Ratio | #DIV/0!
Contracting authority support | Fortechnyi Charitable Foundation
| Work description | Qty | Unit | Unit Cost (without taxes/TVA) | Total Cost (without taxes/TVA) | €/kW (Total W) | Notes
| Administrative/construction/interconnection authorizations |  |  |  | 0 | #DIV/0!
| Design and study |  |  |  | 0 | #DIV/0!
| Installation and wiring of all the PV and storage system + bringing the AC cables to the point of interconnection with existing electrical installation |  |  |  | 0 | #DIV/0!
| Wiring and programming of all the coordination system and communication between any existing generator, the inverters, the batteries (and potentially any existing equipment that would need any communication with the installed system) + programming of the access to the inverters |  |  |  | 0 | #DIV/0!
| Commissioning and testing |  |  |  | 0 | #DIV/0!
| Other |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the PV modules |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the inverters |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the batteries |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the structures |  |  |  | 0 | #DIV/0!
| Unloading, installation and interconnection of a 22kW generator (and synchronization with the grid and PV/storage system) |  |  |  | 0 | #DIV/0!
| Interconnection of the PV and storage system with the existing electric system of the building |  |  |  | 0 | #DIV/0!
| Maintenance and operation (per year) (option) |  |  |  | 0 | #DIV/0!
| Total |  |  |  | 0 | #DIV/0!

## Site 2
Request for proposal : | 1
Project number within the RFP : | 2
Site Info |  | Solar
Site Name | Chernihiv Highschool No. 22 of the Chernihiv City Council | System Size (kWdc)
Site adress | 45A, Levka Lukianenka Ave, Chernihiv, Chernihiv Oblast, Ukraine, 14000 | System Size (kWac)
Project beneficiary |  | DC/AC Ratio | #DIV/0!
Contracting authority support | Fortechnyi Charitable Foundation
| Work description | Qty | Unit | Unit Cost (without taxes/TVA) | Total Cost (without taxes/TVA) | €/kW (Total W) | Notes
| Administrative/construction/interconnection authorizations |  |  |  | 0 | #DIV/0!
| Design and study |  |  |  | 0 | #DIV/0!
| Installation and wiring of all the PV and storage system + bringing the AC cables to the point of interconnection with existing electrical installation |  |  |  | 0 | #DIV/0!
| Wiring and programming of all the coordination system and communication between any existing generator, the inverters, the batteries (and potentially any existing equipment that would need any communication with the installed system) + programming of the access to the inverters |  |  |  | 0 | #DIV/0!
| Commissioning and testing |  |  |  | 0 | #DIV/0!
| Other |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the PV modules |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the inverters |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the batteries |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the structures |  |  |  | 0 | #DIV/0!
| Unloading, installation and interconnection of a 22kW generator (and synchronization with the grid and PV/storage system) |  |  |  | 0 | #DIV/0!
| Interconnection of the PV and storage system with the existing electric system of the building |  |  |  | 0 | #DIV/0!
| Maintenance and operation (per year) (option) |  |  |  | 0 | #DIV/0!
| Total |  |  |  | 0 | #DIV/0!

## Site 3
Request for proposal : | 1
Project number within the RFP : | 3
Site Info |  | Solar
Site Name | Nizhyn Secondary School of Grades I-III No. 15, Nizhyn City Council | System Size (kWdc)
Site adress |  | System Size (kWac)
Project beneficiary |  | DC/AC Ratio | #DIV/0!
Contracting authority support | Fortechnyi Charitable Foundatio
| Work description | Qty | Unit | Unit Cost (without taxes/TVA) | Total Cost (without taxes/TVA) | €/kW (Total W) | Notes
| Administrative/construction/interconnection authorizations |  |  |  | 0 | #DIV/0!
| Design and study |  |  |  | 0 | #DIV/0!
| Installation and wiring of all the PV and storage system + bringing the AC cables to the point of interconnection with existing electrical installation |  |  |  | 0 | #DIV/0!
| Wiring and programming of all the coordination system and communication between any existing generator, the inverters, the batteries (and potentially any existing equipment that would need any communication with the installed system) + programming of the access to the inverters |  |  |  | 0 | #DIV/0!
| Commissioning and testing |  |  |  | 0 | #DIV/0!
| Other |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the PV modules |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the inverters |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the batteries |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the structures |  |  |  | 0 | #DIV/0!
| Unloading, installation and interconnection of a 22kW generator (and synchronization with the grid and PV/storage system) |  |  |  | 0 | #DIV/0!
| Interconnection of the PV and storage system with the existing electric system of the building |  |  |  | 0 | #DIV/0!
| Maintenance and operation (per year) (option) |  |  |  | 0 | #DIV/0!
| Total |  |  |  | 0 | #DIV/0!

## Site 4
Request for proposal : | 1
Project number within the RFP : | 4
Site Info |  | Solar
Site Name | Kulykivka Highschool of the Kulykivka Settlement Council of the Chernihiv District of the Chernihiv Region | System Size (kWdc)
Site adress |  | System Size (kWac)
Project beneficiary |  | DC/AC Ratio | #DIV/0!
Contracting authority support | Fortechnyi Charitable Foundation
| Work description | Qty | Unit | Unit Cost (without taxes/TVA) | Total Cost (without taxes/TVA) | €/kW (Total W) | Notes
| Administrative/construction/interconnection authorizations |  |  |  | 0 | #DIV/0!
| Design and study |  |  |  | 0 | #DIV/0!
| Installation and wiring of all the PV and storage system + bringing the AC cables to the point of interconnection with existing electrical installation |  |  |  | 0 | #DIV/0!
| Wiring and programming of all the coordination system and communication between any existing generator, the inverters, the batteries (and potentially any existing equipment that would need any communication with the installed system) + programming of the access to the inverters |  |  |  | 0 | #DIV/0!
| Commissioning and testing |  |  |  | 0 | #DIV/0!
| Other |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the PV modules |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the inverters |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the batteries |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the structures |  |  |  | 0 | #DIV/0!
| Unloading, installation and interconnection of a 22kW generator (and synchronization with the grid and PV/storage system) |  |  |  | 0 | #DIV/0!
| Interconnection of the PV and storage system with the existing electric system of the building |  |  |  | 0 | #DIV/0!
| Maintenance and operation (per year) (option) |  |  |  | 0 | #DIV/0!
| Total |  |  |  | 0 | #DIV/0!

## Site 5
Request for proposal : | 1
Project number within the RFP : | 5
Site Info |  | Solar
Site Name | Mena Gymnasium of the Mena City Council | System Size (kWdc)
Site adress |  | System Size (kWac)
Project beneficiary |  | DC/AC Ratio | #DIV/0!
Contracting authority support | Fortechnyi Charitable Foundatio
| Work description | Qty | Unit | Unit Cost (without taxes/TVA) | Total Cost (without taxes/TVA) | €/kW (Total W) | Notes
| Administrative/construction/interconnection authorizations |  |  |  | 0 | #DIV/0!
| Design and study |  |  |  | 0 | #DIV/0!
| Installation and wiring of all the PV and storage system + bringing the AC cables to the point of interconnection with existing electrical installation |  |  |  | 0 | #DIV/0!
| Wiring and programming of all the coordination system and communication between any existing generator, the inverters, the batteries (and potentially any existing equipment that would need any communication with the installed system) + programming of the access to the inverters |  |  |  | 0 | #DIV/0!
| Commissioning and testing |  |  |  | 0 | #DIV/0!
| Other |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the PV modules |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the inverters |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the batteries |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the structures |  |  |  | 0 | #DIV/0!
| Unloading, installation and interconnection of a 22kW generator (and synchronization with the grid and PV/storage system) |  |  |  | 0 | #DIV/0!
| Interconnection of the PV and storage system with the existing electric system of the building |  |  |  | 0 | #DIV/0!
| Maintenance and operation (per year) (option) |  |  |  | 0 | #DIV/0!
| Total |  |  |  | 0 | #DIV/0!

## Site 6
Request for proposal : | 1
Project number within the RFP : | 6
Site Info |  | Solar
Site Name | Klevanska special boarding school №1 | System Size (kWdc)
Site adress | Shkilna St, Klevan', Rivnens'ka oblast, Ukraine, 35312 | System Size (kWac)
Project beneficiary |  | DC/AC Ratio | #DIV/0!
Contracting authority support | CAMZ
| Work description | Qty | Unit | Unit Cost (without taxes/TVA) | Total Cost (without taxes/TVA) | €/kW (Total W) | Notes
| Administrative/construction/interconnection authorizations |  |  |  | 0 | #DIV/0!
| Design and study |  |  |  | 0 | #DIV/0!
| Installation and wiring of all the PV and storage system + bringing the AC cables to the point of interconnection with existing electrical installation |  |  |  | 0 | #DIV/0!
| Wiring and programming of all the coordination system and communication between any existing generator, the inverters, the batteries (and potentially any existing equipment that would need any communication with the installed system) + programming of the access to the inverters |  |  |  | 0 | #DIV/0!
| Commissioning and testing |  |  |  | 0 | #DIV/0!
| Other |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the PV modules |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the inverters |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the batteries |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the structures |  |  |  | 0 | #DIV/0!
| Unloading, installation and interconnection of a 22kW generator (and synchronization with the grid and PV/storage system) |  |  |  | 0 | #DIV/0!
| Interconnection of the PV and storage system with the existing electric system of the building |  |  |  | 0 | #DIV/0!
| Maintenance and operation (per year) (option) |  |  |  | 0 | #DIV/0!
| Total |  |  |  | 0 | #DIV/0!

## Site 7
Request for proposal : | 1
Project number within the RFP : | 7
Site Info |  | Solar
Site Name | Klevanska special boarding school №2 | System Size (kWdc)
Site adress | Zavodska St, 3, Klevan', Rivnens'ka oblast, Ukraine, 35312 | System Size (kWac)
Project beneficiary |  | DC/AC Ratio | #DIV/0!
Contracting authority support | CAMZ
| Work description | Qty | Unit | Unit Cost (without taxes/TVA) | Total Cost (without taxes/TVA) | €/kW (Total W) | Notes
| Administrative/construction/interconnection authorizations |  |  |  | 0 | #DIV/0!
| Design and study |  |  |  | 0 | #DIV/0!
| Installation and wiring of all the PV and storage system + bringing the AC cables to the point of interconnection with existing electrical installation |  |  |  | 0 | #DIV/0!
| Wiring and programming of all the coordination system and communication between any existing generator, the inverters, the batteries (and potentially any existing equipment that would need any communication with the installed system) + programming of the access to the inverters |  |  |  | 0 | #DIV/0!
| Commissioning and testing |  |  |  | 0 | #DIV/0!
| Other |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the PV modules |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the inverters |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the batteries |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the structures |  |  |  | 0 | #DIV/0!
| Unloading, installation and interconnection of a 22kW generator (and synchronization with the grid and PV/storage system) |  |  |  | 0 | #DIV/0!
| Interconnection of the PV and storage system with the existing electric system of the building |  |  |  | 0 | #DIV/0!
| Maintenance and operation (per year) (option) |  |  |  | 0 | #DIV/0!
| Total |  |  |  | 0 | #DIV/0!

## Site 8
Request for proposal : | 1
Project number within the RFP : | 8
Site Info |  | Solar
Site Name | NGO "CHILDREN'S DEVELOPMENT CENTER "ERUDIT" | System Size (kWdc)
Site adress |  | System Size (kWac)
Project beneficiary |  | DC/AC Ratio | #DIV/0!
Contracting authority support | CAMZ
| Work description | Qty | Unit | Unit Cost (without taxes/TVA) | Total Cost (without taxes/TVA) | €/kW (Total W) | Notes
| Administrative/construction/interconnection authorizations |  |  |  | 0 | #DIV/0!
| Design and study |  |  |  | 0 | #DIV/0!
| Installation and wiring of all the PV and storage system + bringing the AC cables to the point of interconnection with existing electrical installation |  |  |  | 0 | #DIV/0!
| Wiring and programming of all the coordination system and communication between any existing generator, the inverters, the batteries (and potentially any existing equipment that would need any communication with the installed system) + programming of the access to the inverters |  |  |  | 0 | #DIV/0!
| Commissioning and testing |  |  |  | 0 | #DIV/0!
| Other |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the PV modules |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the inverters |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the batteries |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the structures |  |  |  | 0 | #DIV/0!
| Unloading, installation and interconnection of a 22kW generator (and synchronization with the grid and PV/storage system) |  |  |  | 0 | #DIV/0!
| Interconnection of the PV and storage system with the existing electric system of the building |  |  |  | 0 | #DIV/0!
| Maintenance and operation (per year) (option) |  |  |  | 0 | #DIV/0!
| Total |  |  |  | 0 | #DIV/0!

## Site 9
Request for proposal : | 1
Project number within the RFP : | 9
Site Info |  | Solar
Site Name | Holubnivskyi Lyceum of the Bereznovskyi City Council | System Size (kWdc)
Site adress | 34632, Holubne, Rivne Oblast, Ukraine | System Size (kWac)
Project beneficiary |  | DC/AC Ratio | #DIV/0!
Contracting authority support | CAMZ
| Work description | Qty | Unit | Unit Cost (without taxes/TVA) | Total Cost (without taxes/TVA) | €/kW (Total W) | Notes
| Administrative/construction/interconnection authorizations |  |  |  | 0 | #DIV/0!
| Design and study |  |  |  | 0 | #DIV/0!
| Installation and wiring of all the PV and storage system + bringing the AC cables to the point of interconnection with existing electrical installation |  |  |  | 0 | #DIV/0!
| Wiring and programming of all the coordination system and communication between any existing generator, the inverters, the batteries (and potentially any existing equipment that would need any communication with the installed system) + programming of the access to the inverters |  |  |  | 0 | #DIV/0!
| Commissioning and testing |  |  |  | 0 | #DIV/0!
| Other |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the PV modules |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the inverters |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the batteries |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the structures |  |  |  | 0 | #DIV/0!
| Unloading, installation and interconnection of a 22kW generator (and synchronization with the grid and PV/storage system) |  |  |  | 0 | #DIV/0!
| Interconnection of the PV and storage system with the existing electric system of the building |  |  |  | 0 | #DIV/0!
| Maintenance and operation (per year) (option) |  |  |  | 0 | #DIV/0!
| Total |  |  |  | 0 | #DIV/0!

## Site 10
Request for proposal : | 1
Project number within the RFP : | 10
Site Info |  | Solar
Site Name | Chernihiv general Boarding School | System Size (kWdc)
Site adress | Haharina St, 50, Chernihiv, Chernihiv Oblast, Ukraine, 14039 | System Size (kWac)
Project beneficiary |  | DC/AC Ratio | #DIV/0!
Contracting authority support | Chernihiv
| Work description | Qty | Unit | Unit Cost (without taxes/TVA) | Total Cost (without taxes/TVA) | €/kW (Total W) | Notes
| Administrative/construction/interconnection authorizations |  |  |  | 0 | #DIV/0!
| Design and study |  |  |  | 0 | #DIV/0!
| Installation and wiring of all the PV and storage system + bringing the AC cables to the point of interconnection with existing electrical installation |  |  |  | 0 | #DIV/0!
| Wiring and programming of all the coordination system and communication between any existing generator, the inverters, the batteries (and potentially any existing equipment that would need any communication with the installed system) + programming of the access to the inverters |  |  |  | 0 | #DIV/0!
| Commissioning and testing |  |  |  | 0 | #DIV/0!
| Other |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the PV modules |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the inverters |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the batteries |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the structures |  |  |  | 0 | #DIV/0!
| Unloading, installation and interconnection of a 22kW generator (and synchronization with the grid and PV/storage system) |  |  |  | 0 | #DIV/0!
| Interconnection of the PV and storage system with the existing electric system of the building |  |  |  | 0 | #DIV/0!
| Maintenance and operation (per year) (option) |  |  |  | 0 | #DIV/0!
| Total |  |  |  | 0 | #DIV/0!

## Site 11
Request for proposal : | 1
Project number within the RFP : | 11
Site Info |  | Solar
Site Name | Bakhmach Lyceum No. 1 Bakhmach City Council | System Size (kWdc)
Site adress | Vul. Yaroslava Mudroho, 4, Bakhmach, Chernihivs'ka oblast, Ukraine, 16500 | System Size (kWac)
Project beneficiary |  | DC/AC Ratio | #DIV/0!
Contracting authority support | Chernihiv
| Work description | Qty | Unit | Unit Cost (without taxes/TVA) | Total Cost (without taxes/TVA) | €/kW (Total W) | Notes
| Administrative/construction/interconnection authorizations |  |  |  | 0 | #DIV/0!
| Design and study |  |  |  | 0 | #DIV/0!
| Installation and wiring of all the PV and storage system + bringing the AC cables to the point of interconnection with existing electrical installation |  |  |  | 0 | #DIV/0!
| Wiring and programming of all the coordination system and communication between any existing generator, the inverters, the batteries (and potentially any existing equipment that would need any communication with the installed system) + programming of the access to the inverters |  |  |  | 0 | #DIV/0!
| Commissioning and testing |  |  |  | 0 | #DIV/0!
| Other |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the PV modules |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the inverters |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the batteries |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the structures |  |  |  | 0 | #DIV/0!
| Unloading, installation and interconnection of a 22kW generator (and synchronization with the grid and PV/storage system) |  |  |  | 0 | #DIV/0!
| Interconnection of the PV and storage system with the existing electric system of the building |  |  |  | 0 | #DIV/0!
| Maintenance and operation (per year) (option) |  |  |  | 0 | #DIV/0!
| Total |  |  |  | 0 | #DIV/0!

## Site 12
Request for proposal : | 1
Project number within the RFP : | 12
Site Info |  | Solar
Site Name | Pryluky gymnasium No. 1 named after Heorhy Voronyi of the Pryluky of the city council of Chernihiv region | System Size (kWdc)
Site adress | Kyivska St, 190, Pryluky, Chernihivs'ka oblast, Ukraine, 17500 | System Size (kWac)
Project beneficiary |  | DC/AC Ratio | #DIV/0!
Contracting authority support | Chernihiv
| Work description | Qty | Unit | Unit Cost (without taxes/TVA) | Total Cost (without taxes/TVA) | €/kW (Total W) | Notes
| Administrative/construction/interconnection authorizations |  |  |  | 0 | #DIV/0!
| Design and study |  |  |  | 0 | #DIV/0!
| Installation and wiring of all the PV and storage system + bringing the AC cables to the point of interconnection with existing electrical installation |  |  |  | 0 | #DIV/0!
| Wiring and programming of all the coordination system and communication between any existing generator, the inverters, the batteries (and potentially any existing equipment that would need any communication with the installed system) + programming of the access to the inverters |  |  |  | 0 | #DIV/0!
| Commissioning and testing |  |  |  | 0 | #DIV/0!
| Other |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the PV modules |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the inverters |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the batteries |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the structures |  |  |  | 0 | #DIV/0!
| Unloading, installation and interconnection of a 22kW generator (and synchronization with the grid and PV/storage system) |  |  |  | 0 | #DIV/0!
| Interconnection of the PV and storage system with the existing electric system of the building |  |  |  | 0 | #DIV/0!
| Maintenance and operation (per year) (option) |  |  |  | 0 | #DIV/0!
| Total |  |  |  | 0 | #DIV/0!

## Site 13
Request for proposal : | 1
Project number within the RFP : | 13
Site Info |  | Solar
Site Name | Pryluky gymnasium No. 10 | System Size (kWdc)
Site adress | Kyivska St, 375, Pryluky, Chernihivs'ka oblast, Ukraine, 17500 | System Size (kWac)
Project beneficiary |  | DC/AC Ratio | #DIV/0!
Contracting authority support | Chernihiv
| Work description | Qty | Unit | Unit Cost (without taxes/TVA) | Total Cost (without taxes/TVA) | €/kW (Total W) | Notes
| Administrative/construction/interconnection authorizations |  |  |  | 0 | #DIV/0!
| Design and study |  |  |  | 0 | #DIV/0!
| Installation and wiring of all the PV and storage system + bringing the AC cables to the point of interconnection with existing electrical installation |  |  |  | 0 | #DIV/0!
| Wiring and programming of all the coordination system and communication between any existing generator, the inverters, the batteries (and potentially any existing equipment that would need any communication with the installed system) + programming of the access to the inverters |  |  |  | 0 | #DIV/0!
| Commissioning and testing |  |  |  | 0 | #DIV/0!
| Other |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the PV modules |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the inverters |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the batteries |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the structures |  |  |  | 0 | #DIV/0!
| Unloading, installation and interconnection of a 22kW generator (and synchronization with the grid and PV/storage system) |  |  |  | 0 | #DIV/0!
| Interconnection of the PV and storage system with the existing electric system of the building |  |  |  | 0 | #DIV/0!
| Maintenance and operation (per year) (option) |  |  |  | 0 | #DIV/0!
| Total |  |  |  | 0 | #DIV/0!

## Site 14
Request for proposal : | 1
Project number within the RFP : | 14
Site Info |  | Solar
Site Name | Communal institution of general secondary education of I-III degrees "Varva Lyceum No. 1" | System Size (kWdc)
Site adress | Варвинська ЗОШ №1, Varva, Chernihivs'ka oblast, Ukraine, 17601 | System Size (kWac)
Project beneficiary |  | DC/AC Ratio | #DIV/0!
Contracting authority support | Chernihiv
| Work description | Qty | Unit | Unit Cost (without taxes/TVA) | Total Cost (without taxes/TVA) | €/kW (Total W) | Notes
| Administrative/construction/interconnection authorizations |  |  |  | 0 | #DIV/0!
| Design and study |  |  |  | 0 | #DIV/0!
| Installation and wiring of all the PV and storage system + bringing the AC cables to the point of interconnection with existing electrical installation |  |  |  | 0 | #DIV/0!
| Wiring and programming of all the coordination system and communication between any existing generator, the inverters, the batteries (and potentially any existing equipment that would need any communication with the installed system) + programming of the access to the inverters |  |  |  | 0 | #DIV/0!
| Commissioning and testing |  |  |  | 0 | #DIV/0!
| Other |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the PV modules |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the inverters |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the batteries |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the structures |  |  |  | 0 | #DIV/0!
| Unloading, installation and interconnection of a 22kW generator (and synchronization with the grid and PV/storage system) |  |  |  | 0 | #DIV/0!
| Interconnection of the PV and storage system with the existing electric system of the building |  |  |  | 0 | #DIV/0!
| Maintenance and operation (per year) (option) |  |  |  | 0 | #DIV/0!
| Total |  |  |  | 0 | #DIV/0!

## Site 15
Request for proposal : | 1
Project number within the RFP : | 15
Site Info |  | Solar
Site Name | Korops comprehensive school of grades I-III named after T.H. Shevchenko of the Korop settlement council of the Chernihiv region | System Size (kWdc)
Site adress |  | System Size (kWac)
Project beneficiary |  | DC/AC Ratio | #DIV/0!
Contracting authority support | Chernihiv
| Work description | Qty | Unit | Unit Cost (without taxes/TVA) | Total Cost (without taxes/TVA) | €/kW (Total W) | Notes
| Administrative/construction/interconnection authorizations |  |  |  | 0 | #DIV/0!
| Design and study |  |  |  | 0 | #DIV/0!
| Installation and wiring of all the PV and storage system + bringing the AC cables to the point of interconnection with existing electrical installation |  |  |  | 0 | #DIV/0!
| Wiring and programming of all the coordination system and communication between any existing generator, the inverters, the batteries (and potentially any existing equipment that would need any communication with the installed system) + programming of the access to the inverters |  |  |  | 0 | #DIV/0!
| Commissioning and testing |  |  |  | 0 | #DIV/0!
| Other |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the PV modules |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the inverters |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the batteries |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the structures |  |  |  | 0 | #DIV/0!
| Unloading, installation and interconnection of a 22kW generator (and synchronization with the grid and PV/storage system) |  |  |  | 0 | #DIV/0!
| Interconnection of the PV and storage system with the existing electric system of the building |  |  |  | 0 | #DIV/0!
| Maintenance and operation (per year) (option) |  |  |  | 0 | #DIV/0!
| Total |  |  |  | 0 | #DIV/0!

## Site 16
Request for proposal : | 1
Project number within the RFP : | 16
Site Info |  | Solar
Site Name | new school of Tsykourny | System Size (kWdc)
Site adress | вулиця Соборна, 26, Циркуни, Харківська область, Україна, 62441 | System Size (kWac)
Project beneficiary |  | DC/AC Ratio | #DIV/0!
Contracting authority support | Chernihiv
| Work description | Qty | Unit | Unit Cost (without taxes/TVA) | Total Cost (without taxes/TVA) | €/kW (Total W) | Notes
| Administrative/construction/interconnection authorizations |  |  |  | 0 | #DIV/0!
| Design and study |  |  |  | 0 | #DIV/0!
| Installation and wiring of all the PV and storage system + bringing the AC cables to the point of interconnection with existing electrical installation |  |  |  | 0 | #DIV/0!
| Wiring and programming of all the coordination system and communication between any existing generator, the inverters, the batteries (and potentially any existing equipment that would need any communication with the installed system) + programming of the access to the inverters |  |  |  | 0 | #DIV/0!
| Commissioning and testing |  |  |  | 0 | #DIV/0!
| Administrative/construction/interconnection authorizations |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the PV modules |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the inverters |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the batteries |  |  |  | 0 | #DIV/0!
| Supply and delivery on site of the structures |  |  |  | 0 | #DIV/0!
| Unloading, installation and interconnection of a 22kW generator (and synchronization with the grid and PV/storage system) |  |  |  | 0 | #DIV/0!
| Interconnection of the PV and storage system with the existing electric system of the building |  |  |  | 0 | #DIV/0!
| Maintenance and operation (per year) (option) |  |  |  | 0 | #DIV/0!
| Total |  |  |  | 0 | #DIV/0!